## Slide 1: AU-AOS Release 1

## Slide 2: Upon first starting
Click

## Slide 3: After selecting a setup
Wizard
Setup
Method
Experiment

## Slide 4: Experiment wizard
Wizard
User login (optional)
Login
“Walks” through each step needed to setup an experiment
Experiment
Experiment name, data path (optional)
Rotor setup
Rotor type, cell types
Method
Rotor speed, temperature, scan interval, number of scans
Select cells- add notes
Select which cells to scan, add notes (e.g. contents)

## Slide 5: User login
Three levels
  Operator
    Run only
  User
    Create setups
    Create methods
  Administrator
    Create accounts

## Slide 6: Experiment
Experiment title
Output data path
  Select method

## Slide 7: Rotor setup
Accept setup
Select another setup
Create a new setup
Must match what is in the rotor
Click

## Slide 8: Selecting an existing setup

## Slide 9: Select an existing method

## Slide 10: Select cells to scan & add notes
Channel A
Channel B
Center of rotor
Click

## Slide 11: Adding sample information

## Slide 12: Adding cell notes
Click

## Slide 13: Wizard has been completed
Click

## Slide 14: Machine display
Actual values
Desired values
Hardware status
Status bar

## Slide 15: Hardware status
Meaning of lights
White- not present
Yellow- present, not on
Blue- on, warming up
Green- ready
Red- error
Meaning of lights
White- not present
Green- present
Meaning of lights
White- not ready
Green- ok
Red- error

## Slide 16: Setting the desired rotor speed
Click
Set
Click

## Slide 17: Setting the temperature
Click
Set
Set

## Slide 18: Starting the machine
Uncheck
Click
Click

## Slide 19: Setting the gains
Click
Select cell
Select channel
Set gain
Set PGA
Click
Click

## Slide 20: Gain setting tips
Use the PGA to get acceptable (~100 to ~3900) signal
  Less noise
Minimize the number of different gain settings
  Separate scan taken for each
  All cells using same gain
  Can scan all cells at all gain settings

## Slide 21: Setting known gains
Click
Click
Enter gain settings
Select gains
from previous
experiment

## Slide 22: Starting the experiment
Start
Start experiment
Click

## Slide 23: Running appearance
Method step
Step information
Step
Status
Experiment
Status

## Slide 24: During a scan
Experiment
status
Scan
status

## Slide 25: Pausing a run
Click
Click

## Slide 26: Resuming an experiment
Click
Click

## Slide 27: Changing appearance
Machine settings
display
Experiment status
display
Data graphs

## Slide 28: Experiment ended

## Slide 29: Exiting the program
Click
Click

## Slide 30: File output
Main directory
AUC Data
Date subdirectory
061905
Time subdirectory
115739
Data files
Channel: A, B, etc.
Scan number: 00001
Data type: FI, RA, IP
Cell number: FI1, FI2
Calibration files
Scan number: 00001
Data type: CAL
Cell number: _4
Gain number: _1
Report file

## Slide 31: Experiment report
AOS Experiment Report
Produced by: User on 6/19/2005 12:03:01 PM
Experiment 6/19/2005 11:57:39 AM conducted by Administrator on 6/19/2005 12:03:01 PM
Data path: C:\AUC Data\061905\115739

## Slide 32: Experiment report: Setup information
Experimental setup
Setup name: Default 4-hole velocity- fluorescence created by Administrator on 1/12/2004 8:29:20 AM
Rotor type: AnTi-4. A 4-Hole Titanium rotor with a top speed of 60000 rpm.
Cell number: 1 is a 2 channel Charcoal-Epon 12 mm thick Velocity type with 12 mm deep channels, useable to 45000 rpm.
Cell number: 2 is a 2 channel Charcoal-Epon 12 mm thick Velocity type with 12 mm deep channels, useable to 45000 rpm.
Cell number: 3 is a 2 channel Charcoal-Epon 12 mm thick Velocity type with 12 mm deep channels, useable to 45000 rpm.
Cell number: 4 is a 10 channel Delrin 12 mm thick Calibration type with 2 mm deep channels, useable to 60000 rpm.

## Slide 33: Experiment report: Method information
Experimental method
Method name: Two step created by: Administrator on 7/30/2004 3:37:40 PM
This method is not typically used for sedimentation velocity analysis.
The method waits for 50 um pressure to be reached before starting the rotor, and the method waits for temperature before starting the rotor.
(If the temperatures in the files do not match that called for in the method, the user may have overriden the method.)
The method is designed to work with the following optical systems: Fluorescence
Step 1 Rotor speed: 30000 Temperature: 20 There is no delay before starting this step, and 2 scans were acquired as rapidly as possible.
Step 2 Rotor speed: 60000 Temperature: 20 There is no delay before starting this step, and 2 scans were acquired as rapidly as possible.
The method shuts down the machine when it is completed.

## Slide 34: Experiment report: Sample notes
Information specific to this experiment
Intensity data were acquired at 20 micron intervals for 5 rotor revolutions at each radial position.
Gain settings for excitation 488 nm and emission 505+ nm
Notes for this experiment
General notes
Cell 1 notes
Channel A: pH 8, 20.0 mM Tris, 150.0 mM NaCl, and 1000 nM Dye, with a [C] -> signal multiplier of 1000.0 yielding an expected signal of 1000000.
Channel B: pH 8, 20.0 mM Tris, 150.0 mM NaCl, and 500 nM Dye, with a [C] -> signal multiplier of 1000.0 yielding an expected signal of 500000.
No other notes

## Slide 35: Experiment report: Machine conditions
Machine conditions

## Slide 36: Logs kept in the database
Notes
  Generates experiment report
Run log
  Details on each event
    Machine start, pumping time (700, 50 microns)
    Scan starting/ending times
Error log

## Slide 37: Talking to the outside world
AOS provides socket for connection to other programs running on other computers
Draft specifications include ~50 commands that
  Allow an experiment to be set up
  Allow monitoring the machine/experiment status