The first three equations are suitable for synthetic boundary experiments. The so called diffusion time d  implemented in the XLA output can used by choice. The diffusion is implemented in the terms

but not in the transport terms in the numerators of the error functions (erf) or compliment error functions (erfc). Tests with synthetic traces (Claverie) have shown that this statement can well describe a pure diffusion time.

Function P. Fujita 1975, Eq.2.127

cr=coe−t2erfcz−t2etz=2lnrrmt=2w2ste=2Dsw2rm2                     (1)

Function S. Fujita 1962, Eq.2.191 With consideration of concentration dependent sedimentation.

(2)

Function H. After Hiester and Vermeulen (Fujita 1975, Eq. 2.167). A very accurate formula.

cr=c0e−t2erfcx+2esinht2x141+xe−t14pe−x2                                                     (3)

The symbols have the same meaning as in Eq.2.

The next five model functions are suitable for standard cells with consideration of meniscus boundary.

Function C.  Fujita and MacCosham 1959. This improved form was created by Behlke and Ristau 1997.

cr=c0e−t2erfcp−2tpee−p2+1+t+lnxeerfct+lnx4etelnxee=2D1+0.5(et−1)sw2rm2p=t−lnx4et                          (4)

Note the new definition of  .

Function D. An other improved form of the Fujita-MacCosham equation was developed by Philo 1997.

cr=c0e−t2erfcp(1+αt)−2tpee−p2(1+βet)+1+t+lnxeerfct+lnx4etelnxep=t−lnx4etα=0.2487β=2e=2Dsw2rm2   (5)

Function O.  After Holladay   1979.

cr=c02e−terfctα−z2aet−aeexpzαaeerfctα+z2aet+geexpt+zeerfctg+z2aetα=a−eg=a+ez=rrm2−1a=et−1t  (6)

# Function C+ The best function for normal sector cells with consideration of the meniscus boundary (Behlke and Ristau 2001)

(7)

,

Function M .This variant is developed for concentration dependent sedimentation.  It combines the Fujita-formula eq.2 with the bottom terms of formula eq.7

This model function is a good possibility to prove the independence of the

sedimentation coefficient when the concentration profiles have sufficient plateau region.

(8)

This next two functions are whole boundary solutions.

Function N.  Behlke and Ristau 1998. An improvement of Fujita’s equation 2.280, 1962.

θ=12erfcτ(f−ε)−x+12f ε τ−fεexp(x−1)(f−ε)f εerfcτ(f−ε)+x−12f ε τ +f+εεexpε+x−1εerfcτ(f+ε)+x−12f ε τ

−erfcz−τ(εb−1)2εbτ−1εbexp(εb−1) zεberfcz+τ(εb−1)2εbτ +1+εbεbexpτεb−zεberfcz−τ(εb+1)2εbτ  (9)

z=1−r2rb2 , εb=2Ds rb2ω2

Function N+. Behlke and Ristau 2001.

(10)

,

The last function R is developed for synthetic boundary but with consideration of bottom boundary

## Function R

(11)

The program LAMM is written for windows 95(8),2000 or NT with a graphic resolution of 1024*768 pixels or higher. The task border must be set in the background automatically. The program can fit maximal 700 concentration profiles simultaneously. One file can contain maximal 4900 data points.

The program reads XLA-Files in the old or in the new version and also interference files of the XLI.

The organization of the file input is oriented on the output of the XLA/I. That means at first the program will read the date of the experiment as subdirectory and than the subdirectory named by the time of experiment in which  the data files are included. Therefore after the  file type is chosen and some possibilities are get over the device (with path) must be given for the date subdirectories. The wanted one is than chosen by a mouse click. A list with the time directories is now presented and the wanted is again selected by a mouse click. The data files can be loaded all simultaneously or one by one. In the first case the wanted part of the files and the meniscus and bottom radius is given in after that  whereas in the second mode these data are given after the first concentration profile is read in. The corresponding radii are chosen by moving the cross-wires to the wanted data point. This is done by mouse with simultaneously pressing the left button. The cross-wires can alternatively moved with the arrow keys on the keyboard. By simultaneously pressing the shift key you can accelerate the moving of the cross-wires with the arrow keys. Press now the key A for the wanted starting point and  E for the data end point for fitting, respectively. Additionally the meniscus position and the bottom position has to inspire by pressing the key M (meniscus) and B (bottom).  By other model functions than 8 and 9 the bottom position is a dummy parameter. In the one by one mode the program loads successively all files but the meniscus and bottom radius must be inspired only by the first trace. Furthermore you can finish untimely the further loading of data files by pressing the keys A and E at the same radius position.  For the fit to the Faxen type model functions 1-7 it is possible to cut up the traces by input of the wanted radius position. The cut off data points are stored and can reactivated.

Additional it is possible to load two data sets with different rotor speeds but identical meniscus , bottom radius and loading concentration. After loading the last data file of a set you can stop the loading process or you can load one new data set with a new name.

Optional it is possible to eliminate pull outs by the program. This option includes automatically the determination of the last significant data point mentioned below.

The following option enables do determine  the last significant data point in the bottom region by the program important for the Archibald model functions N and N+. The last data points can p.e. decrease by technical or optical effects. For other model functions this is a dummy parameter.

A special point is the choice  of the slit velocity of the XLA. For molecules with quick sedimentation velocity this parameter has some influence dominantly in the first concentration profiles. The recording  time for one trace takes some minutes depending dominantly from the length of the liquid column in the cell and some other parameters  p.e. repeat rate of  absorbance measurements.  Accurate details to this problem fails in the XLA-file header or in the manual of the XLA. The program allows to consider or to simulate the influence of this technical parameter. A slit velocity of 0.01 cm/sec is the usual value. By input of ‘zero slit speed’  this correction is switched out.

The program allows to eliminate radial independence errors (RI) for all 11 model functions. This means the estimation of  local baseline offsets for each data set.

For interference data it is possible to eliminate additionally the time independent (TI) errors. Both errors are eliminated after Schuck and Demeler adapted to our iteration method after Levenberg/Marquardt which works with derivatives of the model functions in contrast to the method used by Schuck/Demeler. To avoid the linear dependence of the two parameters (TI and RI) contrary to Schuck/Demeler the sum of the local base lines (RI noise) was set to zero. Therefore our procedure allows the use of data sets of different length typical for concentration profiles with higher molecular mass. But for interference data the subtraction of the sky line (contour) of the 3000 rpm ran is the better method which works with more accuracy (especially at low number of data sets) and moreover somewhat faster. The loading concentration is changed by this procedure and must estimated as usual.

By use of the model function N or C up to four independent species can be fitted. The start values must be find out by use of a g*(s)t or g*(s)r plot offered by the program. By means of  cross hairs and the number keys (1-4) the pikes (s-values ) are  designated.  By  fit of absorption files it is of advantage to use the possibility of interpolation missing data points, then the calculation of the g(s)r plot requires equal distant data points.

An other possibility is the generation of a plot file in the HPGL language. Two options are possible  i) for a mechanical plotter or ii) for a HP Laser printer. The position of the plot can be chosen by offset x and y values (in pixels).  By choice the additional text in the screen graphic can be drawn within the plot. Additional residual plots can be generated. Up to nine residual plots can be drawn in one picture with four different extensions. The options ‘C’ and ‘G’ (gradient curves) are even  included in the plotter files.

The model function will be chosen by pressing the designated key. After this the multitude of not to estimate parameters is to inspire and then to choice what parameters you mean. This will be done by the number (sequence) of the parameters shown just before separated by space.

Now the program will try to fit the data. The fit progress is shown graphically. On the bottom of the screen appear a border which contain 7 numbers.

- The number of files included in the fit

2.  The square sum of the residuals (SSR)

3.  The last improvement of SSR

4.  The improvement of SSR which is necessary to finish the iteration

5.  The  square sum of the scaled parameter improvements (the solution of the

scaled information matrix) which is additional necessary to finish the iteration

6.  The last improvement of this square sum

7.  The current damping parameter  which must be <1 to finish the iteration

To avoid endless iterations two other criteria are enclosed. The iteration is also finished either the last improvement of SSR is 0.01 times smaller as mentioned above or the last improvement of the parameter square sum is 0.1 times smaller as in the triple  condition mentioned above (3 ,4 and 6).

When the fit is finished, press ESCAPE to continue the program. Now the program ask for the partial specific volume and the density of the solution to calculate the molecular weight by the Svedberg formula. Additionally the program ask for the friction of the solution to calculate the friction ratio and the stokes radius. As default the friction of water is implemented in the program temperature dependent. The fit procedure can alternatively  finished by pressing key ‘I’.

Now the results are shown on the monitor. By use of the  functions 9 and 10 it is taken into account that two restrictions are hold for the approximate solutions of the LAMM  equation. Firstly, the whole boundary is composed by two independent solutions for the meniscus and for the bottom boundary. This restriction means that meniscus trace and bottom trace should not be overlap markedly. Therefore in the results the actual and the maximal value of a test parameter (1) is printed out. If this value is exceeded one or some of the last data sets has to be omitted.  It is favourable to use high rotor speed (at the same colon length) to obtain  lower  and lower overlap.

After showing the values of the estimated parameters the final graphic is presented (press enter). By pressing the keys CRTL+H you can write additionally text horizontally in the graphic beginning at the cross-wire. By pressing the keys CRTL+V this can be done vertically. The graphic can be printed out by pressing the keys CRTL + L (hard copy). In the left corner of the screen are shown (i) the amplifying factor for the residues relative to the concentration profiles and (ii) the OD scale belonging to the two yellow tixes.

After ESCAPE there is shown a list of some possibilities. By pressing the key D the results will be printed out below the picture and the paper sheet should be ejected.

The option T represents the possibility to show the two traces which constitute the whole boundary trace. This two curves are the meniscus part which represent a Faxen type solution of the Lamm equation which fulfills the meniscus boundary condition and the bottom part which fulfills the bottom boundary condition. In the approximate solution used here both curves are taken as independent from another. That means the Faxen solution may be already in the plateau region when the bottom part is still nearly zero.

To enable the reading of data sets in the new XLA version made with more than one wavelength it is possible to choose the start file and his sequence.  If p.e. records are made at three wavelengths each 3. data file has the same wavelength. The start file determine the wavelength.

In the new data file mode of the XLA it is possible to determine the loading concentration (absorbance) from the 3000 rpm data file. Alternatively also the first nearly flat concentration profile recorded at very short time can be used. The program calculate the mean value of the chosen profile section. This procedure is of advantage especially for fits of solutes with  small molecular weights with function 9,10, because in such data sets the meniscus is usually not depleted and the estimation of the baseline is therefore difficult. The loading concentration  may than be held constant  during the fit.

With the options S,H and A it is possible to leave out some data sets from the parameter estimation procedure. The numbers of the files are the numbers on the left hand side of the screen. With the option O all omitted files and data points are restorable.

If the data are very noisy and additionally the meniscus is also not depleted it is of advantage to know the loading concentration and held this parameter constant during the fit. At the begin of the program there is a option to load the 3000 rpm file of absorption mode to get this information (only for absorption data). Again with the cross-wires the wanted part of the 3000 rpm trace can be determined. In the interference mode the program select from the wanted part the important sky line of the trace and subtracted them from all data traces.

Additional to the calculation of the mole mass by the Svedberg relation the mass is additionally calculated by the Archibald method. This is done by use of the estimated parameter and the used model function and its differentiated form. Corresponding to the used model function the Archibald mass is calculated for the meniscus or bottom radius or both but only for the first concentration profile.

The stoke radius and from this the excluded volume are calculated. The friction of the solvent water is taken into account temperature dependent. But the true friction can be given in. Furthermore the friction ratio is calculated.

At last the sedimentation parameter estimated with LAMM can be introduced together with the prepared data files in the program SEDFIT from Schuck. The program LAMM yields the used prepared data files together with the two files list.ra9 and ~temppars.ra9 (list.ip9 and  ~temppars.ip9) for direct loading by SEDFIT.

Many further details are explained by the program itself.